## Sheet1
UI Object Number |  | URI | Objects | Remarks
1 |  | http://10.140.168.50/getdata.cgi?meters?datetime
2 |  | http://10.140.168.50/getdata.cgi?status | status
3 |  | http://10.140.168.50/getdata.cgi?meters?Power | kW/Total
4 | Bar length | http://10.140.168.50/getdata.cgi?meters?Power | Load/total | Use the semi-pie chart from PDU home screen / SFCM screens,
4 | Bar color | http://10.140.168.50/getdata.cgi?meters?statusSummary | Load | Normal = Blue, Warning = Orange and Alarm = Red
5 |  | http://10.140.168.50/getdata.cgi?meters?Energy | kWh/Total
6 |  | http://10.140.168.50/getdata.cgi?meters?Energy | MD
7 |  | http://10.140.168.50/getdata.cgi?meters?ethernet | IP
8 |  | http://10.140.168.50/getdata.cgi?meters?SysConfig | Audio
9 |  | http://10.140.168.50/getdata.cgi?event?start=0,size=1,info=0,warn=0,alarm=0,active=0,reqack=0,deviceid=0 | Activecnt
11 |  | http://10.140.168.50/getdata.cgi?meters?VoltageIN
12 |  | http://10.140.168.50/getdata.cgi?meters?Voltage | LN
13 |  | http://10.140.168.50/getdata.cgi?meters?Current | RMS
14 |  | http://10.140.168.50/getdata.cgi?meters?statusSummary | Input / Output
15 |  | http://10.140.168.50/getdata.cgi?devicestatus |  | To get number of BCMs, their IDs and status
15 |  | http://10.140.168.50/getdata.cgi?meters?PanelConfig/submeters/7/1 |  | Tot know whether the Panel is On or Off (show only the On ones). Run through /ID/1, /ID/2, /ID/3, /ID/4
16 |  | http://10.140.168.50/getdata.cgi?devicestatus |  | To get number of SFCMs their IDs and status
16 |  | http://10.140.168.50/getdata.cgi?meters?SubfeedSystemData/submeters/24/2 |  | Tot know whether the Panel is On or Off Run through /ID/1, /ID/2, /ID/3, /ID/4. Under each panel which is ON,
16 |  | http://10.140.168.50/getdata.cgi?meters?SubfeedFactoryConfig/submeters/24/2/1 | LineCTScale | To know which subfeed is ON, check LineCTScale for non-zero
16 |  | http://10.140.168.50/getdata.cgi?meters?SubfeedMeter/submeters/24/2/1 | Others/Status | For color of each Subfeed
1 to 16 |  |  |  | In case of no response, handle them gracefully with fallback messages